P6000 Series Specifications:

Size:			150mm diameter

Case:			304 Stainless Steel

Internals:		316 Stainless Steel

Filling Liquid:	Glycerin

Units:			bar & kPa units standard

Thread:		½” NPT

Accuracy:		1% of full scale

Nuova Fima Model:	01.18 DS 150

## P6000 details

The P6000 Series is the big brother to our most popular gauge (the P4000). This gauge has the same laser-cut dial, and heavy-duty, long-life movement, but this time with a 150mm face. With the stainless steel case this gauge is suitable for application in a variety of environments. Like the P4000, it has a vast range of options and additions available. Many of these gauges are in use at the New Zealand Refinery Company and have been for many years after being installed when the plant was first built.

| P6000 applications 01.18 DS 150 | # Bottom Entry | # Rear Entry |
| --- | --- | --- |
| Range (bar) | Part # | Part # |
| -1-0 | P6000 | P6050 |
| 0-1 | P6010 | P6060 |
| 0-1.6 | P6011 | P6061 |
| 0-2.5 | P6012 | P6062 |
| 0-4 | P6013 | P6063 |
| 0-6 | P6014 | P6064 |
| 0-10 | P6015 | P6065 |
| 0-16 | P6016 | P6066 |
| 0-25 | P6017 | P6067 |
| 0-40 | P6018 | P6068 |
| 0-60 | P6019 | P6069 |
| 0-100 | P6020 | P6070 |
| 0-160 | P6021 | P6071 |
| 0-250 | P6022 | P6072 |
| 0-400 | P6024 | P6074 |
| 0-10000 PSI/kPa | P6045 | P6075 |

The P6000 Series is the ideal gauge for the oil & gas industry, pulp & paper; hydraulic & pneumatic test benches, dairy & food processing.

## Further information

Further information on this gauge can be found at www.cps.co.nz.  At this site you can buy the gauge directly, download data sheets, as well as check out the rest of the gauges available from CPS including our Digital Pressure Gauges.

OPTIONS:	A full range of diaphragm seals are available from CPS (NZ) Ltd including Tri-clover, RJT and more. Also max-pointer, snubbers, drag pointers, U-clamp, back flange and safety glass are available.  CPS Labs IANZ Calibration Certificate are available for these gauges, on request.  Also special non-standard dials can be made to your specification (i.e. TONS, MSW, FSW, KN, etc).