Q6000 Series Specifications:

Size:			150mm diameter

Case:			304 Stainless Steel

Internals:		Brass

Filling Liquid:	Dry

Units:			bar/PSI units standard (others available)

Thread:		3/8” BSPP

Accuracy:		1% of full scale

Nuova Fima Model:	01.1 DS 150

## Q6000 details

The Q6000 Series is our boiler gauge. These are best suited for steam boilers, and when purchased with the CPS Labs IANZ certificate, this gauge will meet your boiler survey requirements.  This gauge comes complete with a wall mounting flange and stainless casing. The Q6000 Series gauge will give you years of trouble free service.

| Q6000 applications 01.1 DS 150 | # Bottom Entry | # Rear Entry |
| --- | --- | --- |
| Range (bar/PSI) | Part # | Part # |
| -1-0 | Q6000 | Q6050 |
| 0-1 | Q6010 | Q6060 |
| 0-1.6 | Q6011 | Q6061 |
| 0-2.5 | Q6012 | Q6062 |
| 0-4 | Q6013 | Q6063 |
| 0-6 | Q6014 | Q6064 |
| 0-10 | Q6015 | Q6065 |
| 0-16 | Q6016 | Q6066 |
| 0-25 | Q6017 | Q6067 |
| 0-40 | Q6018 | Q6068 |

The Q6000 Series is the ideal gauge for the steam boiler, static pressure reading where you need a big gauge. Also suited for air receivers, or any application that has static line pressure.

## Further information

Further information on this gauge can be found at www.cps.co.nz.  At this site you can buy the gauge directly, download data sheets as well as check out the rest of the gauges available from CPS (NZ) Ltd   including out Digital Pressure Gauges.

OPTIONS: CPS Labs IANZ calibration certificate available on request. ‘Red line’ on dial for Boiler operation pressure available, as are plastic lens.